## Slide 1
QDR · AUGUST 2026 (+ SEPTEMBER TO DATE)
SH Inspection and Scrap
Tissue @ SH | Part # | # Inspected | # Pass | # Fail | First-Pass Yield | Top defect this month
Pelvic @ Martins | 666541 | 198 | 190 | 8 | 95.96% | Urethra / bladder damage (3)
Pelvic @ Martins | 666506 | 20 | 20 | 0 | 100.00% | —
Pelvic @ Parks | 666541 | 46 | 44 | 2 | 95.65% | Bowel damage / separation (1)
Pelvic @ Nahunta | 666541 | 13 | 1 | 12 | 7.69% | Other / unspecified (12, provisional)
Thoracic @ Nahunta | 666521 | 75 | 16 | 59 | 21.33% | Lung laceration (39)
Pelvic @ Martins · 666541 — 8 fails of 198
1. Urethra / bladder damage 3 · 37.50%
2. Membrane damage 3 · 37.50%
3. Bowel damage / separation 2 · 25.00%
Pelvic @ Parks · 666541 — 2 fails of 46
1. Bowel damage / separation 1 · 50.00%
2. Critical-area laceration 1 · 50.00%
Thoracic @ Nahunta · 666521 — 59 fails of 75
1. Lung laceration 39 · 66.10%
2. Heart damage 21 · 35.59%
Key takeaways
666541 (Pelvic @ Martins): 96.0% FPY on 198 — clean month; scattered singles (bowel, urethra, membrane).
666506 (Pelvic @ Martins): 100% FPY on 20 — no failures.
666541 (Pelvic @ Parks): 95.7% FPY on 46 — strong start on the new spec after the 518 → 541 transition (8/10).
666521 (Thoracic @ Nahunta): 21.3% FPY on 75 across 4 visits — lung lacerations (39) and heart damage (21) persist, but 8/26 rebounded to 44% after Francisco's team engagement.
666541 (Pelvic @ Nahunta): 8/12 line (13/1/12) is provisional — no defect breakdown recorded; confirm.
September to date (9/9): thoracic 10.5% on 19 — NEW failure mode: 9 missing trachea (SH harvesting tracheas for another buyer).
Source: SH_IQC_Inspections.xlsx — SH-floor IQC & ATM (SAP) receipt data, extract 09/16/2026
1

## Slide 2
QDR · THROUGH 09/16/2026 · 16 MATCHED BATCHES
Inspection at SH vs Scrap Rate at ATM by batch
Chart: 
| 5502378434 | 5502391862 | 5502404928 | 5502421192 | 5502428786 | 5502462845 | 5502471460 | 5502495107 | 5502512228 | 5502523269 | 5502539360 | 5502550271 | 5502512218 | 5502523283 | 5502539375 | 5502550281
SH fail rate (sample) | 0.0769 | 0.0175 | 0.0645 | 0.0682 | 0.0423 | 0.0769 | 0.0357 | 0.0388 | 0.024 | 0.0517 | 0.0667 | 0.0323 | 0.8235 | 0.8095 | 0.5556 | 0.8947
ATM scrap rate (full batch) | 0.0443 | 0.0165 | 0.0634 | 0.0654 | 0.0285 | 0.0481 | 0.1124 | 0.0291 | 0.0696 | 0.002 | 0 | 0 | 0.4167 | 0.1724 | 0.375 | 0
Batch / Lot | Part · Tissue | SH dates | SH I/P/F | SH top defects | ATM recv / scrap | ATM % | ATM review window | Days →
5502378434 | 666541 · Pelvic | 04-13, 04-15 | 65 / 60 / 5 | Urethra (2), Other (2), Bowel damage (1) | 542 / 24 | 4.4% | 05-01 → 05-13 | 18
5502391862 | 666541 · Pelvic | 04-20, 04-22 | 57 / 56 / 1 | Bowel damage (1) | 423 / 7 | 1.7% | 05-21 → 05-21 | 31
5502404928 | 666541 · Pelvic | 05-04, 05-06 | 62 / 58 / 4 | Urethra (4) | 347 / 22 | 6.3% | 05-29 → 07-30 | 25
5502421192 | 666541 · Pelvic | 05-18, 05-21, 05-27 | 132 / 123 / 9 | Urethra (5), Membrane (2), Short block (1) | 367 / 24 | 6.5% | 06-03 → 06-18 | 16
5502428786 | 666541 · Pelvic | 06-01, 06-03, 06-08 | 71 / 68 / 3 | Urethra (3) | 246 / 7 | 2.9% | 06-18 → 06-24 | 17
5502462845 | 666541 · Pelvic | 06-15, 06-24 | 65 / 60 / 5 | Membrane (3), Bowel (1), Urethra (1) | 270 / 13 | 4.8% | 06-30 → 07-09 | 15
5502471460 | 666541 · Pelvic | 06-29, 07-06 | 28 / 27 / 1 | Urethra (1) | 267 / 30 | 11.2% | 07-09 → 08-06 | 10
5502495107 | 666541 · Pelvic | 07-13, 07-20 | 103 / 99 / 4 | Urethra (2), Membrane (1), Other (1) | 309 / 9 | 2.9% | 07-30 → 08-12 | 17
5502512228 | 666541 · Pelvic | 07-27, 08-03, 08-05 | 125 / 122 / 3 | Membrane (2), Bowel (1) | 431 / 30 | 7.0% | 08-18 → 09-09 | 22
5502523269 | 666541 · Pelvic | 08-10, 08-17 | 58 / 55 / 3 | Urethra (2), Bowel (1) | 499 / 1 | 0.2% | 08-26 → 08-26 | 16
5502539360 | 666541 · Pelvic | 08-24 | 30 / 28 / 2 | Urethra (1), Membrane (1) | 250 / 0 | 0.0% | not yet reviewed | —
5502550271 | 666541 · Pelvic | 08-31 | 31 / 30 / 1 | Membrane damage (1) | 622 / 0 | 0.0% | not yet reviewed | —
5502512218 | 666521 · Thoracic | 07-29, 08-05 | 34 / 6 / 28 | Lung laceration (22), Heart damage (6) | 24 / 10 | 41.7% | 08-17 → 08-27 | 19
5502523283 | 666521 · Thoracic | 08-12, 08-19 | 42 / 8 / 34 | Lung laceration (20), Heart damage (15) | 29 / 5 | 17.2% | 09-01 → 09-08 | 20
5502539375 | 666521 · Thoracic | 08-26 | 18 / 8 / 10 | Lung laceration (8), Heart damage (2) | 24 / 9 | 37.5% | 09-08 → 09-10 | 13
5502550281 | 666521 · Thoracic | 09-09 | 19 / 2 / 17 | Missing anatomy (9), Lung laceration (8) | 50 / 0 | 0.0% | not yet reviewed | —
Source: SH_IQC_Inspections.xlsx — SH-floor IQC & ATM (SAP) receipt data, extract 09/16/2026
2

## Slide 3
QDR · WINDOW 08/01 – 09/16/2026
SH reasons for reject vs ATM reasons for reject (August – September)
PELVIC
SH issues — 22 total
Chart: 
| Ureter damage | Short block / mesentery length | Critical-area laceration | Bowel damage / separation | Membrane damage | Urethra / bladder damage | Other / unspecified (8/12 provisional)
SH issues — 22 total | 0 | 0 | 1 | 3 | 3 | 3 | 12
ATM scrap — 63 total · 57 quality-only
Chart: 
| 1220 · Destructive Testing (eng/R&D)* | 9983 · Incorrect Dimensions | 9973 · Out of Spec | 9978 · Damage to Suspensory | 9988 · Exposed Urethra | 9994 · Line Clearance* | 9987 · Blood Clots | 9986 · Bladder Length | 9972 · Laceration/Cut
ATM scrap — 63 total · 57 quality-only | 0 | 0 | 0 | 1 | 5 | 6 | 9 | 12 | 30
THORACIC
SH issues — 77 total
Chart: 
| Other / unspecified | Missing anatomy (trachea) | Heart damage | Lung laceration
SH issues — 77 total | 0 | 9 | 21 | 47
ATM scrap — 153 total · 153 quality-only
Chart: 
| 1201 · Tech Performance | 9973 · Out of Spec | 7 · Others | 9985 · Tech Damaged | 1220 · Destructive Testing (eng/R&D)* | 9972 · Laceration/Cut
ATM scrap — 153 total · 153 quality-only | 0 | 0 | 0 | 0 | 0 | 153
* planned/process withdrawal — not a harvest-quality defect. ATM Aug–Sep scrap reflects batches harvested ~1–1.5 months earlier; thoracic ATM units are the survivors of already-failing SH lots.
Source: SH_IQC_Inspections.xlsx — SH-floor IQC & ATM (SAP) receipt data, extract 09/16/2026
3